## Slide 1
Keith Vanderlinde
Dunlap Institute @ UofT
Dec 7, 2016
SLFIII
Canadian Hydrogen Intensity Mapping Experiment
Status Update 2016

## Slide 2: Tracing Structure through 21cm
Unresolved galaxies, resolved BAO.
BAO
Scale
Redshifted 21cm intensity is a tracer for matter.
0.8<z<2.5 =
400-800MHz is relatively clean window, prime for measuring Dark Energy

## Slide 3: CHIME
An experiment to measure BAO and constrain DE eq of state
400-800MHz
Resolution 1/3 – 2/3 deg
Drift scan w/ 1024 dual-pol feeds
~200 deg2 instantaneous FoV
>20,000 deg2 daily survey
~mJy noise floor (50mJy / day)

## Slide 6: The CHIME Pathfinder
40m
36m
64 dual-pol antennas per cylinder (256 total channels)
Details in
Bandura et al., 2014

## Slide 7: Pathfinder Cylinders
N
S
36m
20m

## Slide 8: Calibration: Beam Holography
Berger et al., 2016
Track sources with steerable dish as they drift overhead.
Correlate with CHIME to measure primary beams.
DRAO 26m Galt Telescope

## Slide 9
Berger et al., 2016

## Slide 10: Large-N Interferometry Monitoring with CHIME TV

## Slide 11
VERY
PRELIMINARY!

## Slide 12
VERY
PRELIMINARY!

## Slide 13
VERY
PRELIMINARY!

## Slide 14: CHIME Site: DRAO

## Slide 15: CHIME Site: DRAO

## Slide 16: DRAO - Summer 2016

## Slide 17
CHIME

## Slide 18
N
S
100m
20m

## Slide 19: System Overview
Reflectors
Analog Frontend
Amps, filters, etc
FPGA Digitizer /
Channelizer
GPU Correlator
Disk
Realtime
Backend(s)
1024 dual-polarization feeds
each sees a broad N-S band

## Slide 21: System Overview
Reflectors
Analog Frontend
Amps, filters, etc
FPGA Digitizer /
Channelizer
GPU Correlator
Disk
Realtime
Backend(s)
Custom analog frontend:
2048 signal chains
50K system temperature
>40dB out-of-band rejection

## Slide 22: Analog System Overview

## Slide 23: Analog System Overview

## Slide 24: Analog System Overview

## Slide 25: Analog System Overview

## Slide 26: Analog System Overview

## Slide 27: Analog System Overview

## Slide 28: System Overview
Reflectors
Analog Frontend
Amps, filters, etc
FPGA Digitizer /
Channelizer
GPU Correlator
Digitizes at 800MHz
Splits into 1024 freqs
via 4-tap PFB
HDD
16 / crate, 8 crates
Bandura et al, 2016

## Slide 29: System Overview
Reflectors
Analog Frontend
Amps, filters, etc
FPGA Digitizer /
Channelizer
GPU Correlator
≈TBps
≈GBps
Full N2 ≈1015 cMAC/s ≈ 8 PFLOP/s
AMD GPU-based X-Engine
HDD
Full N2 corr (!)
Fits in a SeaCan

## Slide 30: Extra Capabilites
ATNF Pulsar Catalog
Reflectors
Analog Frontend
Amps, filters, etc
FPGA Digitizer /
Channelizer
GPU Correlator
Disk
Realtime
Backend(s)
CHIME can monitor every known northern pulsar, near-daily cadence.
Cherry Ng

## Slide 31: CHIME/Pulsar Tied-array Beam Commissioning (b0329+54)
Time (min)
Freq (MHz)
800
400
0
30
phase
phase

## Slide 32: Fast Radio Bursts!
Reflectors
Analog Frontend
Amps, filters, etc
FPGA Digitizer /
Channelizer
GPU Correlator
Disk
Realtime
Backend(s)

## Slide 33: FRB Search
1024 “Fan” Beams
Dn=24kHz, Dt=1ms
1024 dual-pol feeds
1024
Stokes-I beams
FFT / Beamforming
Correlator

## Slide 34: CHIME/FRB
Siphon off data stream of:
1024 FFT/Fan Beams
Stokes-I, Dt=1ms, Dn=24kHz
8,000m2 collecting area
400-800MHz bandwidth
Feed into search cluster, search everywhere in CHIME, always.
 Should see dozens / day.
1024
Stokes-I beams

## Slide 35: Growing CHIME
Reflectors
Analog Frontend
Amps, filters, etc
FPGA Digitizer /
Chanelizer
GPU Correlator
Disk
Realtime
Backend(s)
Full N2 (≈1015 cMAC/s = 8 PFLOP/s)
+ 10 Tied-array Coherent Beams
+ 1024 Fan beams @ 24kHz, 1ms
≈TBps
≈GBps
≈16GBps
8 PFLOP GPU Backend
16
X

## Slide 36: CHIME Status
Reflectors
Analog Frontend
Amps, filters, etc
FPGA Digitizer /
Channelizer
GPU Correlator
Disk
Realtime
Backend(s)
 Installing Now, all @ DRAO/UBC
 ¼ Installed, ¾ ready at McGill
 80% Assembled, all at Toronto
 CHIME/Pulsar: Built, at McGill
 CHIME/FRB: Finalizing design, deployment in spring/summer 2017
 Complete

## Slide 37
Stay tuned…