## Slide 1: Measuring the Magnetic and Density Structure of Near-Sun Coronal Mass Ejections
Greg Taylor, Tim Howard, Kevin Stovall, Jayce
Dowell, & Stephen White
December 9, 2016
SLF III, Pasadena, CA

## Slide 2: Coronal Mass Ejection

## Slide 4: Solar System Electron Density

## Slide 5: Rotation Measure Fitting
See poster by Veronica Dike et al., and talk by Joe Malins in this session

## Slide 6: Catching a Coronal Mass Ejection
Howard et al 2016
and
AAS NOVA Research
Highlights on Dec 5
2016
B0950+08 passage
August 2015

## Slide 8: Catching a Coronal Mass Ejection

## Slide 9: Catching a Coronal Mass Ejection

## Slide 10: Catching a Coronal Mass Ejection
Results:
CME density of
3.5 x 10-18 kg/m3
from DM and
LASCO images
CME magnetic field
< 80 nT

## Slide 11: Natural Hazards
Lightning Strike on 9/21/15:
70 FEEs damaged
25 ARX boards damaged
2 cables damaged
1 antenna cap destroyed
Weather station destroyed

## Slide 12: Catching a Coronal Mass Ejection
Results:
CME density of
3.5 x 10-18 kg/m3
from DM and
LASCO images
CME magnetic field
< 80 nT

## Slide 13
JPL Model
CODE Model
GPS Observation
Pulsar: B0950+08
3x 2Hour Observations
(Black Dashed Lines)
Date: 2016/09/23
1.4
0.6
2.0
1.0
2.0
1.0
RM:
See talk later
by Joe Malins

## Slide 14: LWA1 Pulsar Detections
J0030+0451
B0031-07
J0034-0534
B0138+59
J0203+70
B0320+39
B0329+54
B0355+54
B0450+55
B0525+21
B0531+21*
B0628-28
B0655+64
B0809+74
B0818-13
B0823+26
B0834+06
B0919+06
B0943+10
B0950+08
B1112+50
B1133+16
B1237+25
J1327+34
B1508+55
B1540-06
B1541+09
B1604-00
B1612+07
B1642-03
B1706-16
B1749-28
B1822-09
B1839+56
B1842+14
B1919+21
B1929+10
B2020+28
B2110+27
J2145-0750
B2217+47
J2324-05
87 Pulsars detected (84 through pulsations, 3 through single pulses)
7 MSPs detected
Periods from 1.9ms to 3.7s
Stovall et al. (2014)

## Slide 15
Adding LWA-SV
• Improved monitoring
• Resilience to thunderstorms

## Slide 16
Summary
LWA1 measurements of the density of a CME is in good agreement with in-situ spacecraft measurements (from Helios)
Pulsars at low frequencies offer a high precision measurement of DM and RM which can provide the density and magnetic field strength
Ionospheric Faraday correction is the current limiting factor
Additional stations and pulsars will be of great value to improve monitoring opportunities
3C196

## Slide 17
Extra Slides
3C196